## Slide 1: Energy Consumption in AI Datacenters: Can We Address this Challenge?
Josep Torrellas
University of Illinois Urbana-Champaign
https://iacoma.cs.uiuc.edu/josep/torrellas.html
https://acecenter.grainger.illinois.edu/
EMC2 Workshop, March 2026

## Slide 2: Data Center Energy Demands Are Increasing Fast
Training a single model already takes 100+MW over many months in a cluster with 100K GPUs
Notes: 1.4 to 2.6x

## Slide 3
Different bottlenecks: compute-, memory-, and network- bound
Single server to multi-cluster jobs
Disaggregated systems
ML Workloads Come in All Sizes and Shapes

## Slide 4: Principles to Address this Problem
Leverage hardware accelerators and integration
Minimize data movement
Conserve costly memory
Do not leave the hardware unused

## Slide 5: How Do We Make Progress?
Many hardware accelerators in datacenters (many heterogeneous)
New methodologies to generate, deploy and reconfigure accelerators automatically
Smart compilers/runtimes
COMPUTE:
Reconfigurable network topologies
Efficient algorithms and collectives
Accelerators in network switches and SmartNICs
Energy management frameworks
COMMUNICATION:
ACE Center for Evolvable Computing
An SRC/DARPA JUMP 2.0 Center
https://acecenter.grainger.illinois.edu/

## Slide 6: Compute

## Slide 7: Many Accelerators & More to Come
AMD
Instinct Platforms
Google
Cloud TPU
NVIDIA
HGX
Intel
Gaudi
Cerebras
Andromeda
SambaNova
SN40L
Source: Tushar Krishna (GATech)

## Slide 8: An Ensemble of Accelerators
Distributed in the datacenter
ASIC
ASIC
FPGA
CGRA
SRAM
HBM3
HBM3
HBM3
HBM3
HBM3
HBM3
FPGA
CGRA
SRAM
HBM3
HBM3
HBM3
HBM3
HBM3
HBM3
Datacenter
network
FPGA
CGRA
SRAM
ASIC
HBM3
HBM3
HBM3
HBM3
HBM3
HBM3
Chiplets
Large
package

## Slide 9: Automatic Generation of Hardware Accelerators
Evolvable Accelerator Generation
Python
Accelerator Generator
App-Specific Accelerators (FPGA)
Programmable Accelerators

## Slide 10: Allo: A Framework to Design Programmable Accelerators
Takes a Python description and generates a high-performance, programmable accelerator
Allo outperforms state-of-the-art Accelerator Design Languages (ADLs) on PolyBench test cases by >30×.
Allo-generated LLM accelerator on FPGA achieves 1.7× faster decode latency and 5.4× higher energy efficiency than the NVIDIA A100 GPU
LLM Dataflow Accelerator
  [Z. Zhang, Cornell]
Notes: Two levels of complexities
Transform a kernel
Composing kernels
- Allo is a programming model for composable accelerator design.
- The challenge: Productively transform unoptimized kernels and compose th- Allo’s solution: Decoupled, composable, and verifiable hardware customizations in a Python-based DSL and an MLIR-based Compiler.
em into high-performance accelerators (puzzle analogy).
- Enables progressive hardware customizations, transforming vanilla programs into high-performance designs.
- Each customization step is verifiable.
- Supports composable customizations to build modular hardware accelerators.
Dramatically reduces customization code: 8 lines vs. 500 lines of HLS or thousands of RTL lines.
Next: concrete examples on the challenges

## Slide 11
Evolvable Accelerator Generation
Python
Accelerator Generator
App-Specific Accelerators (FPGA)
Programmable Accelerators
Evolvable Compiler Generation
ACT: Accelerator Compilation Toolkit
Feather
EVA
Spade
Dense
Sparse
And Automatic Generation of Back End Compilers
Accelerators
Automatic Generation of Hardware Accelerators

## Slide 12
ACT:
Takes the ISA description of the accelerator
Generates a back-end compiler for the accelerator
Currently works for Tensor accelerators (i.e., ML accelerators)
ACT: Unified Compiler Infrastructure for ML accelerators
TAIDL:
ISA Definition Language for Tensor Accelerators
Data Model
Instruction Set
  Attributes
  Constraints
  Semantics
  [C. Mendis, Illinois]

## Slide 13: An Open-Source Software Framework to Program Multiple Accelerators
New hardware accelerators
Pre-Silicon Verification of Hardware Accelerators
[DAC23]
[Intel16 Tapeout 24Q2]
FPGA Accelerator
SPADE Sparse Accelerator
EVA Reconfigurable Accelerator
[ISCA23]
[FCCM24]
Back-end compilers
Analog Accelerator
FEATHER Accelerator
[ISCA24]
Compiler automatically generates a compiler for each new accelerator
Large heterogeneous application
Front end compiler that breaks the code into sections with affinity for different accelerators
Notes: Industry is actively building accelerators for AI. But unless they are programmable, they will not be successful. Hence, each company is scrambling to create a software infrastructure and compiler for them. However, this software is not open source: each company closely guards any software they develop as a crown jewel.
A group of ACE PIs funded by JUMP 2.0 have created a multi-tier compiler that can easily be targeted to any AI accelerator. This has attracted the collaboration of many companies. We will make the infrastructure public domain, hoping to democratize the field and catalyze the use of hardware accelerators for AI.
In addition, the ACE PIs have tried their compiler to program various accelerators they developed by themselves.

## Slide 14: Communication

## Slide 15: What a Data Center Looks Like
Dataset
Models (LLMs, MoE …)
Checkpoint
Data
Accelerators
CPUs
Memory
Storage
Compute
SmartNIC
Fabric
SmartNIC
Programmable Switches
and Accelerators
Optical Switches

## Slide 16: Many Places to Save Energy
Dataset
Models (LLMs, MoE …)
Checkpoint
Data
Accelerators
CPUs
Memory
Storage
Compute
SmartNIC
Fabric
SmartNIC
Programmable Switches
and Accelerators
Optical Switches
Adaptive Storage
Data Ingestion & Preprocessing
Runtime for diverse accelerators
Optimizations for Communication Collectives
Reconfigurable Topologies
In-network Compression and Aggregation
Adaptive smartNICs
Notes:   Adaptive compute (e.g., data ingestion), storage (e.g., checkpointing, data storage), and communication (e.g., topology, smartNICs)
  Cross-layer optimizations between ML and accelerators

## Slide 17: Efficient Communication Is Crucial
C
C
C
C
C
C
C
C
AR
AR
C
Computation task on accels
Communication using collective primitives: AllReduce, AllGather
AR
Notes: So hopefully this background shows you that efficient communication is key for
<next>
training on multi-XPU systems
<next>
In general,
the idea of distributed training means I can take any model and <next> split layers of the model <next> into <next> individual compute tasks that I am representing with a node C here. <next>
<next>
Each of these compute tasks can then be worked on by different accelerators <next> and <next> <next> <next>
<next>
But what becomes essential is communication between the XPUs that I have distributed the model over. <next> and this communication comes in many different flavors. I'll show you two flavors of this communication. The first type of communication communication is between a <next> <next>
subset of the XPUs that are training the model and the
<next> next>
second type is called Collective communication which is the focus of this talk.
This graph that you see on the slide is commonly called the compute graph of model training. <next> and hopefully its structure makes it evident that inter-XPU communication is on the critical path to training.
<next> And this communication is collective --- it has a well-defined pattern and a group of XPUs all participate in it. There are a few different collective communication primitives and I'll show you what they do.

## Slide 18
{
Data chunks in GPU buffer
State of GPU buffers before the collective
(pre-condition)
State of GPU buffers after the collective (post-condition)
Collective Communication
1
2
3
4
AllReduce
+
+
+
=
Source: Rachee Singh (Cornell)
Notes: So what are collective communication primitives? There are many of them but I am going to show you the primitive that is the workhorse of distributed ML training and that is called AllReduce
So, when a group of GPUs perform collective communication, they each start with a local memory buffer <next> So I am showing you four GPUs and the
Rectangles that are currently blank <next> represent <next> the state of the GPU buffers before the collective communication happens. Now I populate the buffer of the first GPU with its initial state and this initial state is called the pre-condition of the GPU. <next>
The buffer consists of chunks of data and I am representing each data chunk with a different fil patterns. Similarly <next> I have now populated the pre-conditions for all 4 GPUs. <next>
Now, these gPUs perform an AllReduce communication and after the AllReduce completes <next>, the state of the buffers of all the GPUs is the same <next> where they have summed corresponding data chunks of all GPUs. And this final state of the GPU buffers is called <next> the post condition of collective communication.
<next>
And since communication is crucial, our goal is to find HOW best to go from the precondition of GPUs to the post condition of the gPUs. Or more formally, I want a schedule of data chunk transfers over whatever network the GPUs are connected with to reach the post condition AS SOON AS IS POSSIBLE.

## Slide 19: Many Design Choices for Network Fabrics
Scale-up  Scale-out
NVswitch  Infiniband
Infiniti  Infiniti
Custom NICs  RoCE
NVlink  RoCE
3D Electrical Torus  Optical
Wafer-scale  SwarmX Tree
On-package Mesh Ethernet
On-package Mesh  off-chip mesh
NVIDIA
Intel
AMD
Meta
Google
Cerebras
Tensorrent
Tesla
“Classic” Technologies
“Emerging” Technologies
Source: Tushar Krishna (GATech)

## Slide 20: Programmable Photonics in Scale-up Domains
Fast reconfiguration of the fabric in the scale up domain (order of microsecs)
Improves bandwidth by 66% in multi-tenant scenarios
Improves fine-tuning throughput for Llama 3.2 by 1.7X
SerDes
Optical Tx/Rx
XPU 1
XPU 2
Tile 1
Tile 2
Server-scale photonic interconnect
XPU 1
XPU 2
XPU 3
XPU 4
Programmable optical connections
Reconfigurable Topologies
  [R. Singh, Cornell]
“In-place” replacement of failed accelerators within a second
End-to-end hardware prototype

## Slide 21: Photonic Domains
GPU 0
GPU 1
GPU k
Scale-up Interconnect
…
Rail 0 OCS
Rail 1 OCS
Rail k OCS
GPU 0
GPU 1
GPU k
Scale-up Interconnect
…
GPU 0
GPU 1
GPU k
Scale-up Interconnect
…
GPU 0
GPU 1
GPU k
Scale-up Interconnect
…
Spine Layer
OCS: Optical Routing Switching
  [R. Singh, Cornell]

## Slide 22: Improving Parallellization of ML Algorithms
DNNs are trained with combinations of
  Data parallelism (DP)
  Pipeline parallelism (PP)
  Tensor parallelism (TP)
Better Algorithms
TP is a bottleneck
  Because of highest communication cost
Notes: There are three parallelization methods for DNN training
DP, PP, and TP
In large-scale DNN training, mostly LLMs, you need to combine ALL THREE of them.
(anime) TP is the bottleneck as it has the highest communication cost,
This is because we need to communicate input/output at **every** layer
- Hence, TP has the least parallelism (8-way) -- scalability bottleneck
- (anime) Problem: enhance scalability of TP

## Slide 23: 2D Tensor Parallelism
NVIDIA GPU: 1-D (P chips)
Google TPU: 2-D (P=pxp chips)
Comm. cost = O()
  A shard is copied only to its row/column
Comm. cost = O()
  A shard is copied to all other chips
Notes: - One solution is using two-dimensional tensor parallelism
- The figures compare 1D and 2D TP approaches.
- (anime) in 1D TP, a shard is communicated to everyone
- (anime) On the other hand, in 2D, the chips are layed out in a device mesh, and a data only moves along its row or column.
- As a result, reduced communication cost.
- (Click) The objective here is to extend to 4D cluster by combining 2DTP with (DP + PP) – better scalability

## Slide 24: 2D Matrix Multiplication (GeMM)
Accelerators are linked with inter-chip interconnects (ICI)
The matrices are partitioned into shards (Aij, Bij, Cij)
Dataflows:
  One flows horizontally (inter-col)
  One flows vertically (inter-row)
  One remains stationary
Accelerator (chip)
Inter-chip interconnects (ICI)
A00
B00
C00
A10
B10
C10
A20
B20
C20
A01
B01
C01
A11
B11
C11
A21
B21
C21
A02
B02
C02
A12
B12
C12
A22
B22
C22
Notes: - The core of 2D TP is 2D distributed matrix multiplication, or GeMM
- Let me cover some basics 2D Gemm
- The accelerators (device) are connected using ICIs in 2D torus
- The matrices are partitioned into shards, and locally stored (animation, A,B,C)
- As explained before, one of the matrices flows vertically (anime) and another flows horizontally (anime) and one remains stationary. This defines the dataflow of 2D GeMM
- At the end, each chip holds a shard of the final output C

## Slide 25: Baseline: 2D GeMM with Collective Communications
Collective 2D GeMM
B*j= AGrow(Bij)
C’i*= Aij(B*j)T
Cij =RdScol(C’i*)
Want to overlap communication and computation
Time
A00
A10
B00
B10
B00
B10
C00
C10
A01
A11
B00
B10
B01
B11
C01
C11
C01
C11
C00
C10
Notes: - Google is already using 2D TP with collective communication operations
- This is the timeline of such collective 2D GeMM execution
- Hereby we perform ABT, A stationary, B flow vertically, and C flows horizontally
- (Anime), First, we have to do Allgather B shard vertically as of first green box
- (Anime), Then, Compue the partial outputs A B transpose
- (Anime), Finally, Reducescatter the partial outputs into C shards
- In total, the execution takes this amount of time, there is no overlapping.
- Why?: there are depencies between them.
- This is significant - comm taking up to 40% of LLM training time

## Slide 26: 3-way Sliced MeshSlice Algorithm (Iteration 0)
A00
A10
B00
B10
C10
A01
A11
B00
B10
1. Slice B among its rows
Iteration 0:
Bs= slicerow(Bij,3,0)
B’= AGrow(Bs)
C’= Aij(B’)T
Cs= slicecol(Cij,3,0)
Cs= RdScol(C’)
2. AllGather(AG) B sub-shards
3. Compute partial GeMM
C00
C11
C01
Compute
AG
RdS
Compute
AG
RdS
Compute
AG
RdS
4. ReduceScatter the C shards
Time
  [ISCA 2025]
Notes: - Let me show you the three-way MeshSlice example.
- This is the same A-stationary algorithm C=AB^T as of Collective
- Hereby A remains stationary, B flows vertically, and C flows horizontally
- The algorithm runs in three loop iterations.
- I am demonstrating the first iteration here
- (anime) The alg begins with slicing B among its rows: we take every third row of B (purple)
- (Anime), Then, we Allgather B sub-shard vertically
- (Anime), Next, we Compute the partial outputs. Because it is ABT, results in a every third column of partial output, which are purple
- (Anime), Reducescatter the partial outputs horizontally, and accumulate the result to the sub-shard of C (every third colum)

## Slide 27: 3-way Sliced MeshSlice Algorithm (Iteration 1)
A00
A10
B00
B10
C10
A01
A11
B00
B10
Iteration 1:
Bs= slicerow(Bij,3,1)
B’= AGrow(Bs)
C’= Aij(B’)T
Cs= slicecol(Cij,3,1)
Cs= RdScol(C’)
C00
Compute
AG
RdS
Compute
AG
RdS
Compute
AG
RdS
Time
The second iteration of MeshSlice processes the second row slices of B and column slices of C. We can use software pipelining
t0
We have overlapped communication and computation
Notes: - the next iteration processes the next sub-shard, colored in yellow.
- We take every third row of B-shard, shifted by one row
- Also, we accumulate to every third column of C-shard, shifted by one column
- The timeline shows what happens if you apply software pipelining to the three loop iterations,
- (anime) Look at the time interval t0 after the pipelining, here we do AG of the third iteration, compute of the second iteration, and RdS of the first iteration
- They are executed asynchronously at the same time.
- as you can see, most of the communications can be overlapped with the computations. Saving time

## Slide 28: Rich Design-Space of Network Topologies
Ring
FullyConnected
Switch
Building Blocks
2D Mesh
3D Hypercube
DragonFly
PolarFly
Multi-dim Networks
Optimizations for Communication Collectives
Source: Tushar Krishna (GATech)

## Slide 29: Emergence of New Collective Algorithms that are “Topology Aware”
Today: Topology-aware collective algorithms are designed manually
Challenges
  Involves heavy engineering effort
  Hard to adapt to changing topologies (due to faults or multi-tenancy)
Topology Building Block | Topology-aware Collective Algorithm
Ring | Ring
FullyConnected | Direct
Switch | Recursive HalvingDoubling
Hierarchical | BlueConnect (2019) Themis (2022)
Mesh | TTO (2024)
DragonFly | PAARD (2021)
…. | …

## Slide 30: TACOS: Automatically Synthesize Collective Comm
  No need for a priori human knowledge/intervention
Topology
Time Expanded Network
Collective Algorithm
Collective-TEN Representation
Algo Synthesis
  Result: High network bandwidth utilization
  [T. Krishna, GATech]

## Slide 31
Long-tail Latency of AllReduce
  [M.Shahbaz, Michigan]
AllReduce
Node 1
Node 2
Node 3
Node 4
Bottleneck
Congested link
Network
delays
Slow node
The message at the tail delays the AllReduce collective
Propose: Ignore slow arriving data
Currently: Wait until the last packet arrives
Notes: This tail is can be direct outcome of a system or network level delay
For example for network there might be a some [click] congestion or [click] slow link

## Slide 32
AllReduce
Node 1
Node 2
Node 3
Node 4
Bottleneck
Congested link
Network
delays
Slow node
ML Models are Resilient Against Gradient Loss:
No need for 100% reliability
OptiReduce: A Tail-optimal AllReduce
  [M.Shahbaz, Michigan]
The message at the tail delays the AllReduce collective
Propose: Ignore slow arriving data
Currently: Wait until the last packet arrives
Notes: We can do this here because models are inherently resilient against gradient data loss and don’t require 100% reliability from the underlying communication
This allows us to safely move forward without waiting for that last bit of data

## Slide 33
x
y
z
w
Local Gradient
Data
Node 1
Node 3
Node 4
Node 2
Existing Ring AllReduce
Notes: To understand the benefit of Transpose AllReduce, we need to see how existing architecture operate
In Ring AR, which is the current default AllReduce algorithm, [click] nodes only talk to their immediate neighbors and aggregation happens in-line
So with these 4 nodes example, lets see how Node 1 will receive the gradients and aggregate them
[click] We start with Node 2 sending its data to Node 3

## Slide 34
z
w
Local Gradient
Data
Node 1
Node 3
Node 4
x+y
Node 2
Existing Ring AllReduce
Notes: node 3 accumulating the gradients and [click] sending to node 4

## Slide 35
w
Local Gradient
Data
Node 1
Node 3
Node 4
x+y+z
x+y+z
All the aggregated data lost, not just Node 4’s gradients!
Node 2
Existing Ring AllReduce
Notes: and node 4 accumulating the data and sending to node 1
But this time [click] you can imagine that there was a drop
Since we’re using unreliable communication, there will be no retransmissions
[click] However this single packet was carrying aggregated data of all nodes that appeared before node 4
Basically x+y+z
So anytime a loss happens during this Ring AllReduce architecture, you also lose the data for all the previous nodes which was accumulated till that point
this becomes an even bigger problem as the system scales because the ring will become larger with more nodes added to it

## Slide 36
Node 1
Local Gradient
Data
Node 2
Node 3
Node 4
x
y
z
w
Transpose AllReduce (TAR)
All nodes directly talk to each other!
Notes: Transpose AllReduce (or simply TAR), solves the loss accumulation problem by implementing [click] direct p2p communication
All nodes directly talk to each other and aggregation happens only at the last node
Lets look at the same aggregation example but now using Transpose AllReduce
So starting with Node 2 sending to Node 1

## Slide 37
Node 1
Local Gradient
Data
Node 2
Node 3
Node 4
z
y
w+x
Transpose AllReduce (TAR)
Notes: followed by Node 3 sending its data

## Slide 38
Node 1
Local Gradient
Data
Node 2
Node 3
Node 4
w+x+y
z
z
Only a single node’s data lost!
Transpose AllReduce (TAR)
Notes: And similarly [click] when node 4 is sending to node 1, we encounter a drop, just as we did in the Ring AR example
But this time [click] we only lose a single node’s data as there was no in-line aggregation
No matter how much the system scales, there will be no loss accumulation as there no intermediate nodes
[click] This has a significant effect in terms of model learning and deviation
In our testing with 8 nodes, Ring’s Mean Squared Error was 7 times higher than TAR, meaning it accumulated much more loss when operating over unreliable links

## Slide 39: Frameworks for Energy Efficiency
Knob | Energy | Power | Perf | Quality
Model Size |  |  |  | 
Quantize |  |  |  | 
Parallelism |  |  |  | 
Frequency |  |  |  | 
Batch size |  |  |  | 
Orchestrator
  [HPCA 2025]

## Slide 40: Challenges To Make LLMs Energy-Efficient
  Request heterogeneity (long/short input/output)
  Workload dynamics (varies with time)
  High reconfiguration overheads (in minutes)
    Scale in/out
    Shard in/out
    Scale up/down

## Slide 41: DynamoLLM: Energy-Management for LLM Inference
Inference Requests
Cluster Manager
Instance Pool (SS)
Pool Manager
Pool Manager
Instance Pool (LL)
…
Perf-Energy Profile
Perf-Energy Profile
Out-Len
Prediction
T-put Profile
Load
Prediction
Select Number of Instances
  [HPCA 2025]

## Slide 42: DynamoLLM: Energy-Management for LLM Inference
Inference Requests
Cluster Manager
Instance Pool (SS)
Pool Manager
Pool Manager
Instance Pool (LL)
…
Perf-Energy Profile
Perf-Energy Profile
Out-Len
Prediction
T-put Profile
Load
Prediction
Select Number of Instances
  [HPCA 2025]
Different Instance pools for different requests
Hierarchical control for dynamic load
Profile-driven decisions

## Slide 43: DynamoLLM: Energy-Management for LLM Inference
Inference Requests
Cluster Manager
Instance Pool (SS)
Pool Manager
Pool Manager
Instance Pool (LL)
…
Perf-Energy Profile
Perf-Energy Profile
Out-Len
Prediction
T-put Profile
Load
Prediction
Select Number of Instances
  [HPCA 2025]
Instance pools for diverse workloads
Hierarchical control for dynamic load
Profile-driven energy configuration setting
DynamoLLM reduces
Energy consumption by 35%
Carbon emissions by 38%

## Slide 44: Conclusions
The community has developed many effective techniques for energy efficiency
There are many more software optimizations
Challenge: Will industry adopt them?
Challenge: Will they make an impact on time, given the crazy course we follow?

## Slide 45: Thanks to Many Contributors
Jovan Stojkovic, UT Austin– Meta
Hyoungwook Nam, AWS
Tushar Krishna, GA Tech
Rachee Singh, Cornell
Minlan Yu, Harvard
Muhammad Shahbaz, U Michigan
Zhiru Zhang, Cornell
Charith Mendis, University of Illinois
Rakesh Kumar, University of Illinois
Esha Choukse, Microsoft
Many more

## Slide 46: Energy Consumption in AI Datacenters: Can We Address this Challenge?
Josep Torrellas
University of Illinois Urbana-Champaign
https://iacoma.cs.uiuc.edu/josep/torrellas.html
https://acecenter.grainger.illinois.edu/
EMC2 Workshop, March 2026

## Slide 47: Re-start ML jobs within seconds of the failure
Do not need to migrate the job
Do not need to over-provision the datacenter
In-place replacement of the accelerator
Re-build state in the collective comm. library
  Patch in the NCCL communicator
Restart the training job
Addressing a fundamental challenge with hardware/software redesign in the ML stack

## Slide 48: Reliable Distributed Training
Dataset
Models (LLMs, MoE …)
Checkpoint
Data
Accelerators
CPUs
Memory
Storage
Compute
SmartNIC
Fabric
SmartNIC
Programmable Switches
and Accelerators
Optical Switches
Fault-tolerant runtime for GPU failures/stragglers
Adaptive Communication Collectives for link failures and congestion
Reconfigurable Topologies that adapt to link and GPU failures
Simulation and emulation testbeds

## Slide 49: Optimizing 2D GeMM
1. Algorithm
Cannon
SUMMA
Collective
2. Dataflow
Output Stationary
Left Stationary
Right Stationary
3. Mesh Shape
4X6
6X4
8X3
Notes: - There are three major components that affect the 2D GeMM efficiency
- First is the algorithm itself. (anime) There are multiple 2D distributed GeMM algorithms and the choice is critical
- Second is the dataflow. Three major dataflows depending on what remains stationary. Affects the traffic pattern of 2D GeMM
- Last but not least is the mesh shape (anime). Which is how many rows and columns.
- The mesh shape also affects the amount of traffic.
- Note that square is not always the best for the traffic cost.

## Slide 50: New parallelization algorithm enables scalable and faster AI training
Q2 2025 JUMP 2.0 ACE Center. Task 3134.008.
Problem: Existing algorithms combining Data (DP), Pipeline (PP), and Tensor (TP) Parallelism to allow bigger AI training jobs are constrained by TP, which is a technique to partition the layers of a large model across multiple GPUs, because TP incurs the most communication.
Impact: Scalable and faster AI training is demonstrated through training GPT-3 (from OpenAI) and Megatron-NLG (from Microsoft and NVIDIA) in a cluster of 256 TPUs.
MeshSlice trains them 12.0% and 23.4% faster, respectively, than the state-of-the-art
MeshSlice maintains high efficiency up to at least 256-way 2D TP
Combining MeshSlice with DP and PP, we can build parallel algorithms that can scale well to 512K-way parallelism.
Approach: MeshSlice enhances TP with a new algorithm to parallelize General Matrix Multiplication (GeMM) in 2 dimensions (2D; rows and columns in a matrix) that fully overlaps communication with computation in 2D.
The idea is to slice the collective communications (AllGather and ReducedScatter) into multiple partial collective operations in a loop. Then, we apply software pipelining to the loop so that the computation in one iteration overlaps with the communications in the two surrounding iterations.
FLOP utilization under weak scaling
Higher Performance
Existing Tensor parallelism algorithms
New
FLOP Utilization
FLOP Utilization
Notes: The core of 2D TP is the 2D General Matrix Multiplication (GeMM) algorithm. Existing 2D GeMM are inefficient. Why?
1) Cannon’s algorithm incurs high traffic because it requires skewing the matrix shards, and only supports square meshes.
2) The SUMMA algorithm has less traffic than Cannon by choosing an optimal mesh shape, but relies on fine-grain broadcast and reduce communication operations. These primitives pipeline the communications into small packet transfers, which result in many synchronizations.
3) Google’s TPU clusters compute 2D GeMMs using AllGather (AG) and ReduceScatter (RdS) collective communication operations. This approach combines all partial communications into a single collective communication. As a result, it is not possible to overlap communications with computations via software pipelining.
4) Wang et al. partially solve this problem by partitioning a collective communication into multiple SendRecv operations to overlap communications with computations. Unfortunately, Wang’s partitioning method can only be applied to one direction.
MeshSlice slices the AG/RdS collective communication operations into multiple partial AG/RdS operations in both row and column directions. It overlaps most of the communications with computations with software pipelining, enabling increased scalability.

## Slide 51: Result: High Network Bandwidth Utilization
TACOS maximizes network link utilization for all topologies

## Slide 52
Other Optimizations for Collective Communications
Tensor Homomorphic Compression (THC) [NSDI’24]
  Compress gradients to reduce collective traffic
  Direct aggregation of compressed tensors
In-network aggregation
  Aggregating (compressed) gradients in programmable switches or smartNICs to further speed up collectives
OptiReduce: A tail-optimal reduce [NSDI’25]
  Time-bounded AllReduce using Transpose AllReduce, unreliable bounded transport, and adaptive timeouts
Notes: CXL 3 will bring rack-scale shared memory to the data center and this will allow applications to communicate more efficiently by avoid the “data center tax” that arises from serialization/deserialization and other overheads inherent in traditional packet-based networking systems.
The challenge is to leverage the benefits of shared memory without sacrificing the safety and isolation that network-based communication provides. RPCool is a remote proceduce call (RPC) library that balances these two goals: Applications can pass pointers to shared data via an RPC call, avoiding the data center tax, but RPCool also carefully manages program permissions to avoid accidental or malicious data corruption or leakage.
The result in significant speedups for legacy applications (e.g., Memacached) and opens the door for new shared-memory-oriented programming models and services.

## Slide 53: OPTIREDUCE: Resilient and Tail-Optimal AllReduce for Distributed Deep Learning in the Cloud. NSDI ‘25
Student: Ertza Warraich; PI: Muhammad Shahbaz
Exploiting the domain-specific characteristic of DDL, OptiReduce introduces (i) mechanisms (e.g., bounded transport, adaptive timeouts, and Transpose AllReduce) to improve the DDL jobs’ tail execution time, and (ii) strategies (e.g., Hadamard Transform) to mitigate the impact of loss on model accuracy; achieving up to 70% faster time-to-accuracy compared to state-of-the-art.
Communication Collectives
Notes: In Nets4ML, we are developing new communication collectives and domain-specific transports to mitigate tail and minimize the effect of stragglers on model’s training time; completing it orders of magnitude faster.

## Slide 54
Gradients
Synchronize and aggregate model gradients:
AllReduce Communication
AllReduce
Node 1
Node 2
Node 3
Node 4
Dataset
DNN Model
Forward Pass: Run input through the model
Backpropagation: Update model based on output
Network
Distributed Data Parallel: AllReduce
Notes: for each backpropogation step, These gradients need to be synchronized over the network with all other GPUs
[click] This communication is normally done through an AllReduce collective operation which synchronizes and aggregates the model gradients across all these nodes

## Slide 55
Gradients
AllReduce
Node 1
Node 2
Node 3
Node 4
Long-Tail: Worsened in cloud and shared environments!
1 "Scaling distributed machine learning with in-network aggregation.” NSDI’21​
Bottleneck
Network
Distributed Data Parallel: AllReduce
AllReduce Bottleneck:
As much as 65% of training time1​
Notes: However, this AllReduce comm is now becoming the critical bottleneck in distributed training
[click] We are seeing as much as 65% of the training time is being spent on the AllReduce op
[click] This is further worsened in the cloud and shared data center environments where many workloads are running in parallel

## Slide 56
Transpose AllReduce (TAR)
Unreliable Bounded
Transport (UBT)
OptiReduce
AllReduce
Adaptive Timeouts
Tensor Homomorphic
Compression (THC)
OptiReduce + THC
Reduces The Amount
of Data to Communicate
PS
3. Sum
2. Decompress
4. Compress
1. Compress
5. Decompress
W
Notes: Usually, compression algorithms compress the data before sending, but it needs to be decompressed at the aggregator when summing it with other data,
Then it again compresses the gradients for faster delivery back to the workers
This extra compression/decompression step adds to the latency,
THC solves this by implementing a homomorphic compression…
[click] so the reduction can happen directly on the compressed data
This saves significant cycles and

## Slide 57: DynamoLLM: Designing LLM Inference Clusters for Performance and Energy Efficiency [HPCA’25]
DynamoLLM: the first energy-management framework for LLM inference clusters
  Automatically reconfigures the cluster to minimize energy while maintaining performance requirements
  Profile-driven energy configuration setting
  Instance pools for diverse workloads
  Hierarchical control for dynamic load
Evaluate DynamoLLM at a large scale
  53% less energy and 38% less carbon emissions
Orchestrator

## Slide 58
AI Produces Huge Power Demands
Projected increase in AI cluster size
Training a single model already takes 100+MW over many months
With clusters with O(100K) GPUs

## Slide 59: Distributed ML Workloads
Challenges:
  Diverse data types; diverse models
  Many heterogeneous accelerators
  High performance demands on compute, network, and storage
Solution
  Adaptive compute (e.g., data ingestion), storage (e.g., checkpointing, data storage), and communication (e.g., topology, smartNICs)
  Cross-layer optimizations between ML and accelerators
  Joint optimization between networking, storage, and compute

## Slide 60
Other Improvements
  Major gains in energy efficiency and performance in training/inference
In-network Compression and Aggregation
Adaptive smartNICs
Tensor Homomorphic Compression (THC)
  Compress gradients to reduce collective traffic
  Direct aggregation of compressed gradients
  [M. Yu, Harvard]
SmartNICs: Faster host-NIC communication and offloading computation
Computation in Switches