ECE 476 Exam 2 review topics

- Lecture 14

  - Dishonest N-R

  - Decoupled PF

  - Fast decoupled PF

  - DC PF

  - Control

- Lecture 15

  - PTDF

  - LODF

  - Flowgates

  - Power plants, turbines

- Lecture 16

  - Fuel costs

  - Economic dispatch

  - Lagrangian

  - Lambda iteration

  - Generator limits

- Lecture 17

  - Transmission losses, penalty factor

  - Markets

  - Optimal power flow

  - Congestion, LMP

- Lecture 18

  - Faults

  - RL circuit

  - Generator reactances

- Lecture 19

  - Symmetric fault solution using superposition

  - Grounding

- Lecture 20

  - Asymmetric faults

  - Symmetric components

  - Thevenin equivalent

  - Grounding

- Lecture 21

  - Single line to ground

  - Line to line

  - Double line to ground

  - Faults on lines

- Lecture 22

  - Power system protection

  - Radial vs network

  - Directional, impedance, differential relays

  - Other relays

  - GPS timing