- Lecture 1

  - Big picture

  - Grid

  - History

- Lecture 2

  - Phasors

  - Complex power

  - Conservation of power

  - Reactive compensation/ PF correction

  - Balanced 3 phase

  - Y, delta connections

  - Delta-wye transform

- Lecture 3

  - Per phase analysis

  - Transmission lines

  - Transmission line modeling

- Lecture 4

  - Restructuring

  - Smart grid

  - Grid operations

  - AGC

- Lecture 5

  - Transactions between areas

  - Economic dispatch

  - Constraints

  - Locational Marginal Price

  - Magnetics associated with T-lines

  - Inductance of single line

- Lecture 6

  - Inductance of parallel conductors: 2, >2

  - Symmetry

  - Conductor bundling

  - Transposition

- Lecture 7

  - Conductors

  - Electric fields, single wire

  - Electric fields, multiple conductors

  - T-line capacitance

  - ACSR

  - Other T-line effects (underground, corona, dc, trees, etc)

- Lecture 8

  - T-line models

  - V(x), I(x) equations

  - T-line ABCD matrix

  - Pi model

  - Simplifications: medium & short length line, lossless

  - Ideal transformers

  - Real transformers: core loss, leakage, finite core mu

  - Transformer equivalent circuit

- Lecture 9

  - Referring

  - Open circuit/short circuit tests

  - Per unit

  - 3 phase per unit

  - Change of base

  - 3 phase transformers (Y-Y, Y-delta, delta-delta)

- Lecture 10

  - Special transformers: LTC, phase shifting, autotransformers

  - Low probability high impact events

  - Load model

  - Generator model

  - Linear vs nonlinear

- Lecture 11

  - Ybus

  - Modification: shunts

  - V-I relationship

  - Power flow equations

- Lecture 12

  - Iterative methods: gauss iteration

  - Slack bus

  - Gauss-seidel

  - PF bus types

- Lecture 13

  - Newton Raphson

  - Jacobian

Test 1

- Lecture 14

  - Dishonest N-R

  - Decoupled PF

  - Fast decoupled PF

  - DC PF

  - Control

- Lecture 15

  - PTDF

  - LODF

  - Flowgates

  - Power plants, turbines

- Lecture 16

  - Fuel costs

  - Economic dispatch

  - Lagrangian

  - Lambda iteration

  - Generator limits

- Lecture 17

  - Transmission losses, penalty factor

  - Markets

  - Optimal power flow

  - Congestion, LMP

- Lecture 18

  - Faults

  - RL circuit

  - Generator reactances

- Lecture 19

  - Symmetric fault solution using superposition

  - Grounding

- Lecture 20

  - Asymmetric faults

  - Symmetric components

  - Thevenin equivalent

  - Grounding

- Lecture 21

  - Single line to ground

  - Line to line

  - Double line to ground

  - Faults on lines

- Lecture 22

  - Power system protection

  - Radial vs network

  - Directional, impedance, differential relays

  - Other relays

  - GPS timing

Test 2

- Lecture 23

  - Generator electrical & mechanical models

  - Swing equation

  - SMIB

  - Numerical integration

  - Euler’s method

- Lecture 24

  - Equal area criteria

  - Damping

  - Two axis model, d-q

  - Governors

  - Exciters

- Lecture 25

  - Droop

  - Harmonics, THD

  - Fourier

  - Triplen harmonics

  - Smart grid

- Lecture 26

  - Primary distribution

  - Secondary distribution

  - Distribution substation transformers

  - Distribution transformers

  - Shunt capacitors

  - Reliability metrics