## Slide 1: ECE 476 Renewable Energy Systems
Lecture 3: Complex Power, Three-Phase
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu

## Slide 3: Announcements
Please read Chapters 2 and 4
HW 1 is 2.7, 16, 24, 33; due Thursday 9/1
  Problem 2.47 moved to HW 2
  HW 1 will be turned in (for other homework we may have an in-class quiz)
  For Problem 2.33 you need to use the PowerWorld Software. You can download the software and cases at the below link; get Version 19 (August 11, 2016) www.powerworld.com/gloveroverbyesarma

## Slide 4: Power Consumption in Devices

## Slide 5: Example
First solve
basic circuit

## Slide 6: Example, cont’d
Now add additional
reactive power load
and resolve

## Slide 7: Power System Notation
Power system components are usually shown as
“one-line diagrams.” Previous circuit redrawn
Arrows are
used to
show loads
Generators are
shown as circles
Transmission lines are shown as a single line

## Slide 8: Reactive Compensation
Key idea of reactive compensation is to supply reactive
power locally. In the previous example this can
be done by adding a 16 Mvar capacitor at the load
Compensated circuit is identical to first example with
just real power load

## Slide 9: Reactive Compensation, cont’d
Reactive compensation decreased the line flow from 564 Amps to 400 Amps. This has advantages
  Lines losses, which are equal to I2 R decrease
  Lower current allows utility to use small wires, or alternatively, supply more load over the same wires
  Voltage drop on the line is less
Reactive compensation is used extensively by utilities
Capacitors can be used to “correct” a load’s power factor to an arbitrary value.

## Slide 10: Power Factor Correction Example

## Slide 11: Distribution System Capacitors

## Slide 12: Definition of Reactive Power

## Slide 13: PowerWorld Simulator Overview
Used for power system analysis and visualization
  Runs in Windows
Download free 42 bus educational version at
  http://www.powerworld.com/gloveroverbyesarma
Image on right shows the problem 2.33 power system (case)

## Slide 14: Balanced Three-Phase () Systems
A balanced three-phase () system has
  three voltage sources with equal magnitude, but with an angle shift of 120
  equal loads on each phase
  equal impedance on the lines connecting the generators to the loads
Bulk power systems are almost exclusively 3
Single-phase is used primarily only in low voltage, low power settings, such as residential and some commercial

## Slide 15: Balanced 3 -- No Neutral Current

## Slide 16: Advantages of 3 Power
Can transmit more power for same amount of wire (twice as much as single phase)
Torque produced by 3 machines is constant
Three-phase machines use less material for same power rating
Three-phase machines start more easily than single-phase machines

## Slide 17: Three-Phase - Wye Connection
There are two ways to connect 3 systems
  Wye (Y)
  Delta ()

## Slide 18: Wye Connection Line Voltages
Van
Vcn
Vbn
Vab
Vca
Vbc
-Vbn
Line-to-line
voltages are
also balanced
(α = 0 in this case)

## Slide 19: Wye Connection, cont’d
Define voltage/current across/through device to be phase voltage/current
Define voltage/current across/through lines to be line voltage/current

## Slide 20: Delta Connection
Ica
Ic
Iab
Ibc
Ia
Ib

## Slide 21: Three-Phase Example
Assume a -connected load is supplied from a 3 13.8 kV (L-L) source with Z = 10020W

## Slide 22: Three-Phase Example, cont’d

## Slide 23: Delta-Wye Transformation

## Slide 24: Delta-Wye Transformation Proof

## Slide 25: Delta-Wye Transformation, cont’d

## Slide 26: Three Phase Transmission Line

## Slide 27: Per Phase Analysis
Per phase analysis allows analysis of balanced 3 systems with the same effort as for a single phase system
Balanced 3 Theorem: For a balanced 3 system with
  All loads and sources Y connected
  No mutual Inductance between phases

## Slide 28: Per Phase Analysis, cont’d
Then
  All neutrals are at the same potential
  All phases are COMPLETELY decoupled
  All system values are the same sequence as sources. The sequence order we’ve been using (phase b lags phase a and phase c lags phase a) is known as “positive” sequence; later in the course we’ll discuss negative and zero sequence systems.