## Slide 1: Notes Power System Dynamics and Stability
Based upon
Power System Dynamics and Stability
Peter W. Sauer and M.A. Pai
1st Edition
Prepared by
Karl Reinhard
reinhardke@gmail.com
Latest Update: 1 Feb 18
Supporting PhD Dissertation:
Power System Dynamic Modeling and Synchrophasor Measurements
©Jan ‘17
Contents
Variables and Definitions 1
Single Machine, Inf Bus, Balanced 3f Transmission Line (T.L.) 4
Reference Frame Theory Prep to consider Unbalanced 3f T.L. 6
Park’s Transformation for Resistive T.L. Component 8
Park’s Transformation for Inductive T.L. Component 9
Eqn Dev for Stator Components 10
Eqn Dev for T.L. Components 11
Modified Eqns for d and q formulation 13
Transmission Line Eqn Development 18
Single Machine, Inf Bus, Un-Balanced 3f Transmission Line (T.L.) 20
Single Machine, Resistive Load (Raskin), Eqn Development 27
Single Machine, Resistive Load (Raskin), Eqn Development ( = 0) 29

## Slide 2
Variables and Definitions

## Slide 3
Variables and Definitions (cont)

## Slide 4
Single-Machine-Infinite Bus (Generator Notation)
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
Differentiate Id and Iq to find explicit expression for evaluating Vd and Vq
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function
Combined Flux terms incl. Machine & Trans. Line

## Slide 5
Algebraic Steps leading to eqns (5.51.3) and (5.52.3)

## Slide 6
Single-Machine-Infinite Bus (Generator Notation)
3 Fast Dynamic States
Reference Frame Theory
3f Breaker Opening – Referring Re and Xep into Rotor Frame
(1)
(2)
(3)
3 Fast Dynamic States – Unbalanced Conditions
(1)
(2)
(3)
(Note: Unbalanced TL conditions do not allow combining machine and TL terms into compact Yde terms as in 5.42 – 5.44)

## Slide 7
6 Algebraic States
(16)
(17)
(19)
(20)
(15)

## Slide 8
Krause:
Except for isolated operation, it is convenient for analysis and interpretation purposes to related the SM rotor position to a reference voltage (or to another machine in a multiple machine system). The rotor angle, d , is defined as the electrical angle displacement between the rotor and its terminal voltage. (p207)
Lumped Parameters
Park’s Transformation – Resistive Component

## Slide 9
Park’s Transformation – Inductive Component
0

## Slide 10
Equation Development
Apply Park Transformation to refer “stator frame”
variables and constituent relations to “rotor frame” :
(3.1)
(3.2)
(3.3)
(3.17)
(3.18)
(3.19)
(3.148)
(3.149)
(3.150)
Stator Components:
(motor current notation)
(motor current notation
via ‘-’ in scaling factor)
Note the dqo Transformation eliminates yo term in the dqo frame

## Slide 11
Equation Development
Apply Park Transformation to refer TL “stator frame”
variables and constituent relations to “rotor frame” :
(3.27)
(3.28)
(3.29)
(3.17)
(3.18)
(3.19)
Transmission Line Components:
TL treated as lumped parameters
with mutual cross inductance
0

## Slide 12
Equation Development
Transmission Line Components (cont) :
(5.59.2)
(5.60.2)
6 Algebraic States
The ‘–’ arises because the scaling converts ‘motor’ notation;
however, the transmission line sign convention is preserved…
( Eqns 5.61 & 5.62)
Distinguishing eqns 5.59 & 5.59.2 and 5.60 & 5.60.2
Park Transform of Balanced 3f X is diagonal

## Slide 13
(1)
(2)
(3)
MODIFIED
(5.59.2)
(5.60.2)
(1)
(2)
(3)
(3.150.1)

## Slide 14
MODIFIED

## Slide 15
(1)
(2)
(3)
MODIFIED

## Slide 17
(1)
(2)
(3)

## Slide 20
Compute Transmission Line Parameters for simulated case based upon Kundur’s Typical Transmission Lines, Table 6
(Note the similarity of off-diagonal terms to balanced transmission line under normal conditions. Balanced neutral 
Phase Currents sum to 0 Elgerd, Sect. 6-4-7, p 182. )
Nom Voltage: | 230 KV
R (W/km) | .050
XL = wL (W/km) | .488
Bc = wC (ms/km) | 3.371
Zc = (W) | 380
SIL (MW) | 140
Assume that D (phase conductor separation) is 5 meters; Determine R (conductor radius) to obtain Kundur’s value.
Assume that D = Dn (effective distance from neutral to phase conductors – achieved via transposition)
Assume that Rn = 1/3 R

## Slide 21
SYNCHRONOUS MACHINE – INFINITE BUS (Generator Notation)
Explicitly Modeled || Transmission Lines
3f Breaker Opening – Referring Re and Xep into Rotor Frame
Updated 17 Oct 16
Font colors updated 8 Dec 16
3 Fast Dynamic States
11 not so fast Dynamic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function
(1)
(2)
(3)
15 Algebraic States

## Slide 22
SYNCHRONOUS MACHINE – INFINITE BUS (Generator Notation)
Explicitly Modeled || Transmission Lines
3f Breaker Opening – Referring Re and Xep into Rotor Frame
Updated 17 Oct 16
Font colors updated 8 Dec 16
3 Fast Dynamic States
11 not so fast Dynamic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function
15 Algebraic States

## Slide 23
(27)
(28)
(26)
(5.59.3)
(5.60.3)
(22)
(23)
(21)
(19)
(20)
(18)
(25)
KVL Equation TL 1 (Updated 20 Oct 16)
Null Source …
… Null Source
Null Source …
… Null Source
(5.33)

## Slide 24
Null Source INDUCTOR:
(1)
INDUCTOR:
Null Source INDUCTOR:
(2)
INDUCTOR:
0
0
 = 0

## Slide 25
25
Inductor, Transformer V
P
Q
Vterm
R
VR
Inductor, Speed V
S
Model Scaling
scaled w

## Slide 26
(21.1)
(30)
(31)
(24) (Theta shaft)
(22.1)
(23.1)
(5.59.4)
(19.1)
(5.60.4)
(20.1)
(25.1)
KVL Equation TL 2
(5.33)

## Slide 27
Single-Machine-Resistive Load (Raskin) model, Bus (Generator Notation) Full Model (e≠ 0)
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function

## Slide 28
Single-Machine-Resistive Load (Raskin) model, Bus (Generator Notation) Full Model (e≠ 0) and open ckt (I’s = 0)
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function

## Slide 29
Single-Machine-Resistive Load (Raskin) model, Bus (Generator Notation) -- Reduced Model (e = 0 )
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function

## Slide 30
Single-Machine-Resistive Load (Raskin) model, Bus (Generator Notation) -- Reduced Model (e = 0 ) and open ckt (I’s = 0)
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Mechanical Power System
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)
(Ransick modeling problem statement)
Vd and Vq are not defined for open Ckt (I’s = 0) and (e = 0);
No P or Q powerflow and hence no reference angle
Governor Model *
PSV = Steam Valve Psn ( Pressure)
PC = Power change setting
PC = 0 when Open Ckt
RD = Speed Droop Regulation Qty
e = 2p (60) retained to preserve governor function
(14.1)

## Slide 31
Single-Machine-Resistive Load (Raskin) model, Bus (Generator Notation) -- Reduced Model (e = 0 and Open Circuit (I’s = 0 ) and Open Ckt assumptions Vd, yqe = 0 )
3 Fast Dynamic States
11 not so fast Dynamic States
6 Algebraic States
Main Exciter
Stabilizing Transformer
Pilot Exciter
Excitation System
Single Stage Turbine Model
Governor Model *
*(PC = 0 when Open Ckt)
Mechanical Power System
(1)
(2)
(3)
(4)
(5)
(6)
(7)
(8)
(9)
(10)
(11)
(12)
(13)
(16)
(17)
(18)
(19)
(20)
(14)
(15)